|  |
| --- |
| **Specifications** |
| Panel Size: | (1U) 19" x 1.75" x 1.5" |
| Panel color/material: | black/metal |
| Fans: | 6 - SL40B Blue LED fans |
| Fan Speed: | 4000 RPM |
| Air Flow: | 31.2 CFM |
| Noise: | 20 dBA |
| Power Supply: | 100-240 VAC - 12 VDC |
| Power Supply Plug Type: | NEMA 1-15P |
| Current draw: | 1.5A |
| Power consumption: | 4.5w |
| Grills/Guards: | Black Wire |